## TLC
QUERIES ON THE VALUES SUPPLIED BY COMMERCE COMMISSION
CLDividend & CLOther
The discount provision is listed as the CLDividend from 1999 to 2001. But it is listed as CLOther for 2002.
It is suggested the discount to be listed as CLOther for the years 1999,2000 & 2001 to be consistent.
| 1999 | 2000 | 2001 | 2002
CLDividend | 99992 | 0 | 0 | 132000
CLOther |  | 2496000 | 2806000 | 3459000
NumROI
Our working gives a different figure. Please refer the next work sheet (Form).
1999
NumROI
ROF, ROE & ROI
As a result of the change in the numerator the values should be as follows. Please refer the next work sheet (Form).
1999
ROF
ROE
ROI
TotCustomers
The total customer figure for 1995 & 1996 should be as follows.
| 1995 | 1996
Total consumers/installations | 11674 | 12305
UnplanInt4, SAIDIPlanInt4, SAIDIUnplanInt4, SAIFIPlanInt4, SAIFIUnplanInt4, CAIDIPlanInt4, CAIDIUnplanInt4
The figure given in these is the 5th years figure, not the 5 year average. The PlanInt4 figure is correct,
because the target was static over the period.
| 1999 | 2000 | 2001
UnplanInt4 | 388 | 350 | 315
SAIDIPlanInt4 | 240 | 162 | 128.2
SAIDIUnplanInt4 | 245.7 | 161 | 131.3
SAIFIPlanInt4 | 0.95 | 0.7 | 0.6
SAIFIUnplanInt4 | 4.1 | 3.8 | 2.7
CAIDIPlanInt4 | 252.6 | 226.6 | 214.3
CAIDIUnplanInt4 | 60 | 41.8 | 50.8
CAIDITot |  |  | KCE
The total is not a summation of the individual classes but a calculation based on the total SAIDI and SAIFI
1998
CAIDITot | 67.75
SAIDITot, SAIDIB, SAIDIC, SAIDID |  |  | KCE
The 1999 figures provided are obviously incorrect - These have been estimated using an average of existing ratios.
The 1995-1998 Figures appear consistently too low, when compared to equivalent figures for the KCE area since TLC
took over. We believe that our reporting system is more accurate and as such have proposed a new set of figures,
based on the averages used to claculate the 1999 figures.
| 1995 | 1996 | 1997 | 1998 | 1999
SAIDITot | 413.41 | 452.2 | 412.86 | 216.08 | 521.4
SAIDIA | 15.25 | 0 | 30.49 | 15.25 | 0
SAIDIB | 86.43 | 41 | 44.32 | 58.73 | 110.81
SAIDIC | 253.93 | 370.74 | 326.48 | 118.98 | 399.03
SAIDID | 57.8 | 40.46 | 11.56 | 23.12 | 11.56
SAIFITot, SAIFIB, SAIFIC, SAIFID |  |  | KCE
The 1999 figures provided are obviously incorrect - These have been estimated using an average of existing ratios.
The 1995-1998 Figures appear consistently too low, when compared to equivalent figures for the KCE area since TLC
took over. We believe that our reporting system is more accurate and as such have proposed a new set of figures,
based on the averages used to claculate the 1999 figures.
| 1995 | 1996 | 1997 | 1998 | 1999
SAIFITot | 6.23 | 7.6 | 6.34 | 2.97 | 7.85
SAIFIA | 0.06 | 0 | 0.12 | 0.06 | 0
SAIFIB | 0.47 | 0.22 | 0.24 | 0.32 | 0.61
SAIFIC | 4.45 | 6.5 | 5.73 | 2.09 | 7
SAIFID | 1.24 | 0.87 | 0.25 | 0.5 | 0.25
CAIDITot, CAIDIB, CAIDIC, CAIDID |  |  | KCE
The 1999 figures provided are obviously incorrect - These have been estimated using an average of existing ratios.
The 1995-1998 Figures appear consistently too low, when compared to equivalent figures for the KCE area since TLC
took over. We believe that our reporting system is more accurate and as such have proposed a new set of figures,
based on the averages used to claculate the 1999 figures.
| 1995 | 1996 | 1997 | 1998 | 1999
CAIDITot | 66.35 | 59.52 | 65.14 | 72.86 | 66.38
CAIDIA | 254.1 | 0 | 254.1 | 254.1 | 0
CAIDIB | 182.68 | 182.68 | 182.68 | 182.68 | 218.45
CAIDIC | 57.01 | 57.01 | 57.01 | 57.01 | 99.2
CAIDID | 46.5 | 46.5 | 46.5 | 46.5 | 30.99
All Outage Related Targets for the 1999 Disclosure Year for KCE do not exist as TLC owned the KCE network at the
time these figures were produced. Hence KCE had no network to expect any performance from.
suspicious:

## FORM
THE LINES COMPANY LIMITED-LINE BUSINESS ACTVITY
Form for the derivation of Financial Performance Measures fron Financial Statements-Schedule 1, Part 7
| Derivation Table | Input and | Symbol
|  | Calculat. | in form. | ROF | ROE | ROI
| Operating surplus before interest and tax (OSBIIT) | 1043
| Interest on cash,bank & short term investments (ISTI) | 0
| OSBIIT minus ISTI |  | a
| Net surplus after tax from financial statements | 823 | n
| Amortised Goodwill | 0 | g | 0
| Subvention Payment | 0 | s | 0
| Depreciation of SFA at BV (x) | 192
| Depreciation of SFA at ODV (y) | 192
| ODV Depreciation adjustment |  | d
| Subvention Payment tax adjustment |  | s*t
| Interest Tax Shield |  | q
| Revaluations | 0 | r
| Income Tax | -32 | p
Numerator
| Fixed Assets at Start of Year | 31299
| Fixed Assets at Year End | 31585
| Net Working Capital at end of previous financial year | -228
| Net Working Capital at end of current financial year | 1245
| Average Total Funds Employed (ATFE) |  | c
| Total Equity at end of previous financial year | 28618
| Total Equity at end of current financial year | 29755
| Average Total Equity |  | k
| Works Under Construction at end of previous year | 751
| Works Under Construction at end of current year | 550
| Average Total Works Under Construction |  | e
| Revaluations | 0 | r
| Half of revaluations |  | r/2
| Intangible assets at end of previous financial year | 0
| Intangible assets at end of current financial year | 0
| Average total intangible asset |  | m
| Subvention Payment at end of previous financial year | 0
| Subvention Payment at end of current financial year | 0
| Subvention Payment Tax Adjustment previous year | 0
| Subvention Payment Tax Adjustment current year | 0
| Average Subvention payment and tax adjustment | 0 | v
| System Fixed Assets at end of previous year at BV | 29933
| System Fixed Assets at end of current year at BV | 29933
| Average value of system fixed assets at BV |  | f
| System Fixed Assets at year beginning at ODV | 39092
| System Fixed Assets at end of current year at ODV | 39690
| Average value of system fixed assets at ODV |  | h
Denominator
Financial Performance Measure
suspicious: