## Sheet1
EE394, Spring 1999, Homework #2
|  | z - km | d - km | cos(beta * d) | sin(beta * d) | Real(VS) | Imag(VS) | VS mag (kV rms) | VS angle (degrees) | Real(IS) | Imag(IS) | IS mag (A rms) | IS angle (degrees)
Outer rad. / inner rad. | 2.7 | 0 | 0 | 1 | 0 | 100 | 0 | 100 | 0 | 90 | -43.589 | 100 | -25.8419
Relative permittivity = | 2.5 | -50 | 50 | 0.99506 | 0.09925 | 99.6692 | 0.33645 | 99.6698 | 0.19341 | 89.5556 | 220.1292 | 237.6491 | 67.8619
VR (kV rms) = | 100 | -100 | 100 | 0.9803 | 0.19752 | 98.3542 | 0.66957 | 98.3565 | 0.39005 | 88.2269 | 481.6737 | 489.6872 | 79.6203
Load S (MVA) = | 10 | -150 | 150 | 0.95585 | 0.29384 | 96.0679 | 0.99609 | 96.0731 | 0.59405 | 86.0269 | 738.4617 | 743.4556 | 83.3553
Load pf (pu, lagging) = | 0.9 | -200 | 200 | 0.92197 | 0.38726 | 92.833 | 1.3128 | 92.8423 | 0.81017 | 82.9775 | 987.9574 | 991.4359 | 85.1991
Frequency (Hz) | 60 | -250 | 250 | 0.87898 | 0.47685 | 88.6813 | 1.6165 | 88.6961 | 1.0443 | 79.1086 | 1227.6971 | 1230.2432 | 86.3132
Increment (km) | 50 | -300 | 300 | 0.82732 | 0.56174 | 83.654 | 1.9042 | 83.6756 | 1.304 | 74.4585 | 1455.3134 | 1457.2169 | 87.0711
|  | -350 | 350 | 0.76748 | 0.64107 | 77.8005 | 2.1732 | 77.8309 | 1.6 | 69.0732 | 1668.5586 | 1669.9877 | 87.6295
C (F/m) = | 1.4002e-10 | -400 | 400 | 0.70006 | 0.71408 | 71.1788 | 2.4207 | 71.22 | 1.9478 | 63.0058 | 1865.3268 | 1866.3906 | 88.0654
L (H/m) = | 1.9865e-07 | -450 | 450 | 0.62574 | 0.78004 | 63.8542 | 2.6442 | 63.9089 | 2.3713 | 56.3162 | 2043.6751 | 2044.4509 | 88.4215
Z0 (ohms) = | 37.6656 | -500 | 500 | 0.54523 | 0.83829 | 55.899 | 2.8417 | 55.9712 | 2.9102 | 49.0705 | 2201.8423 | 2202.389 | 88.7233
Beta (rad/m) = | 1.9883e-06 | -550 | 550 | 0.45934 | 0.88826 | 47.3919 | 3.0111 | 47.4874 | 3.6355 | 41.3402 | 2338.2664 | 2338.6319 | 88.9871
Wavelength (km) = | 3160.1235 | -600 | 600 | 0.36891 | 0.92947 | 38.4167 | 3.1508 | 38.5457 | 4.6887 | 33.2017 | 2451.6004 | 2451.8252 | 89.2241
1/sqrt(LC) = | 189607409.5386 | -650 | 650 | 0.27484 | 0.96149 | 29.0622 | 3.2594 | 29.2444 | 6.399 | 24.7353 | 2540.7249 | 2540.8453 | 89.4422
1/sqrt(mu*eps) = | 189607409.5386 | -700 | 700 | 0.17805 | 0.98402 | 19.4207 | 3.3357 | 19.7051 | 9.7461 | 16.0246 | 2604.76 | 2604.8093 | 89.6475
P (MW) = | 9 | -750 | 750 | 0.079508 | 0.99683 | 9.5874 | 3.3792 | 10.1655 | 19.4154 | 7.1557 | 2643.0732 | 2643.0829 | 89.8449
Q (MVAr) = | 4.3589 | -800 | 800 | -0.01982 | 0.9998 | -0.34052 | 3.3892 | 3.4063 | 95.7373 | -1.7838 | 2655.2863 | 2655.2869 | 90.0385
IR mag (A rms) | 100 | -850 | 850 | -0.11895 | 0.9929 | -10.2651 | 3.3658 | 10.8028 | 161.8462 | -10.7057 | 2641.2787 | 2641.3004 | 90.2322
IR angle (degrees) | -25.8419 | -900 | 900 | -0.21691 | 0.97619 | -20.0883 | 3.3092 | 20.3591 | 170.6456 | -19.5219 | 2601.1886 | 2601.2618 | 90.43
Real (IR) (A rms) | 90 | -950 | 950 | -0.31273 | 0.94984 | -29.7132 | 3.2199 | 29.8871 | 173.8153 | -28.1454 | 2535.4119 | 2535.5681 | 90.636
Imag (IR) (A rms) | -43.589 | -1000 | 1000 | -0.40545 | 0.91412 | -39.0446 | 3.0988 | 39.1674 | 175.4623 | -36.4909 | 2444.5982 | 2444.8706 | 90.8552
Real (ZL) (ohms) | 900 | -1050 | 1050 | -0.49418 | 0.86936 | -47.9905 | 2.947 | 48.0809 | 176.4859 | -44.476 | 2329.6444 | 2330.0689 | 91.0937
Imag (ZL) (ohms) | -435.8899 | -1100 | 1100 | -0.57802 | 0.81602 | -56.4625 | 2.7662 | 56.5302 | 177.1952 | -52.022 | 2191.6854 | 2192.3027 | 91.3597
Mag (ZL) (ohms) | 1000 | -1150 | 1150 | -0.65616 | 0.75462 | -64.3769 | 2.5581 | 64.4277 | 177.7245 | -59.0542 | 2032.0837 | 2032.9416 | 91.6646
Real (A) (kV rms) | 48.305 | -1200 | 1200 | -0.72781 | 0.68577 | -71.6556 | 2.3247 | 71.6933 | 178.1418 | -65.5033 | 1852.4153 | 1853.5731 | 92.0252
Imag (A) (kV rms) | 0.8209 | -1250 | 1250 | -0.79228 | 0.61015 | -78.2267 | 2.0684 | 78.254 | 178.4854 | -71.3056 | 1654.4545 | 1655.9904 | 92.4679
Real (B) (kV rms) | 51.695 | -1300 | 1300 | -0.84893 | 0.52851 | -84.0253 | 1.7916 | 84.0444 | 178.7785 | -76.4037 | 1440.156 | 1442.1813 | 93.0368
Imag (B) (kV rms) | -0.8209 | -1350 | 1350 | -0.89719 | 0.44164 | -88.9942 | 1.4971 | 89.0068 | 179.0362 | -80.7473 | 1211.6361 | 1214.3238 | 93.8127
Real (RhoV) | 0.93394 | -1400 | 1400 | -0.9366 | 0.35041 | -93.0842 | 1.1879 | 93.0918 | 179.2689 | -84.2936 | 971.1514 | 974.8028 | 94.9607
Imag (RhoV) | 0.03071 | -1450 | 1450 | -0.96675 | 0.25573 | -96.2551 | 0.86688 | 96.259 | 179.484 | -87.0074 | 721.0766 | 726.307 | 96.8802
Mag (RhoV) | 0.93444 | -1500 | 1500 | -0.98736 | 0.15851 | -98.4754 | 0.53734 | 98.4769 | 179.6874 | -88.8621 | 463.8813 | 472.3159 | 100.8443
VSWR | 29.5073 | -1550 | 1550 | -0.99821 | 0.059735 | -99.7234 | 0.2025 | 99.7236 | 179.8837 | -89.8393 | 202.1051 | 221.1732 | 113.966
|  | -1600 | 1600 | -0.99921 | -0.039632 | -99.9865 | -0.13435 | 99.9866 | -179.923 | -89.9293 | -61.6668 | 109.0416 | -145.5606
|  | -1650 | 1650 | -0.99035 | -0.13861 | -99.2623 | -0.46987 | 99.2634 | -179.7288 | -89.1313 | -324.8297 | 336.8364 | -105.344
|  | -1700 | 1700 | -0.9717 | -0.23622 | -97.5579 | -0.80075 | 97.5612 | -179.5297 | -87.453 | -584.785 | 591.288 | -98.5054
|  | -1750 | 1750 | -0.94346 | -0.33149 | -94.8901 | -1.1237 | 94.8967 | -179.3215 | -84.9113 | -838.9656 | 843.2516 | -95.7792
|  | -1800 | 1800 | -0.9059 | -0.42349 | -91.2853 | -1.4356 | 91.2965 | -179.099 | -81.531 | -1084.8614 | 1087.9208 | -94.2979
|  | -1850 | 1850 | -0.8594 | -0.51131 | -86.779 | -1.7333 | 86.7963 | -178.8557 | -77.3456 | -1320.0444 | 1322.3084 | -93.3533
|  | -1900 | 1900 | -0.8044 | -0.59408 | -81.4158 | -2.0139 | 81.4407 | -178.583 | -72.3964 | -1542.192 | 1543.8903 | -92.6877
|  | -1950 | 1950 | -0.74147 | -0.67099 | -75.2486 | -2.2746 | 75.283 | -178.2686 | -66.7323 | -1749.1105 | 1750.383 | -92.1849
|  | -2000 | 2000 | -0.67121 | -0.74126 | -68.3384 | -2.5128 | 68.3846 | -177.8942 | -60.4092 | -1938.7567 | 1939.6976 | -91.7847
|  | -2050 | 2050 | -0.59433 | -0.80422 | -60.7533 | -2.7262 | 60.8144 | -177.4306 | -53.4896 | -2109.2578 | 2109.936 | -91.4527
|  | -2100 | 2100 | -0.51158 | -0.85924 | -52.5683 | -2.9127 | 52.6489 | -176.8286 | -46.0418 | -2258.9302 | 2259.3994 | -91.1676
|  | -2150 | 2150 | -0.42377 | -0.90577 | -43.8641 | -3.0705 | 43.9715 | -175.9959 | -38.1393 | -2386.2958 | 2386.6006 | -90.9157
|  | -2200 | 2200 | -0.33178 | -0.94336 | -34.7269 | -3.1979 | 34.8738 | -174.7387 | -29.8602 | -2490.0969 | 2490.2759 | -90.687
|  | -2250 | 2250 | -0.23651 | -0.97163 | -25.2467 | -3.2937 | 25.4606 | -172.5671 | -21.2863 | -2569.3084 | 2569.3966 | -90.4747
|  | -2300 | -285 | 0.8437 | -0.53682 | 83.4887 | -1.8198 | 83.5085 | -1.2486 | 75.933 | -1461.9898 | 1463.9604 | -87.0268
|  | -2350 | 2350 | -0.039939 | -0.9992 | -5.6344 | -3.3872 | 6.5742 | -148.9872 | -3.5945 | -2651.0847 | 2651.0871 | -90.0777
|  | -2400 | 2400 | 0.059429 | -0.99823 | 4.304 | -3.3839 | 5.475 | -38.1753 | 5.3486 | -2652.8418 | 2652.8472 | -89.8845
|  | -2450 | 2450 | 0.15821 | -0.98741 | 14.1999 | -3.3472 | 14.589 | -13.2637 | 14.2389 | -2628.4024 | 2628.4409 | -89.6896
|  | -2500 | 2500 | 0.25543 | -0.96683 | 23.9555 | -3.2775 | 24.1787 | -7.7905 | 22.9886 | -2578.0076 | 2578.1101 | -89.4891
suspicious:D50,
Note on C4: reference:B10 mrs: Rotate:True
Note on D4: reference:C4 mrs:(C4,+,-10.0000) Rotate:True
Note on E4: reference:D4,B15 mrs: Rotate:True
Note on F4: reference:D4,B15 mrs: Rotate:True
Note on G4: reference:E4,F4,B6,B14,B24 mrs:(E4,+,1000.0000) (F4,+,16.4180) Rotate:True
Note on H4: reference:F4,B14,B23 mrs:(F4,+,33.8990) Rotate:True
Note on I4: reference:G4,H4 mrs: Rotate:True
Note on J4: reference:G4,H4 mrs: Rotate:True
Note on K4: reference:E4,B23 mrs: Rotate:True
Note on L4: reference:E4,F4,B6,B14,B24 mrs:(E4,+,-435.8899) (F4,+,26549.4391) Rotate:True
Note on M4: reference:K4,L4 mrs: Rotate:True
Note on N4: reference:K4,L4 mrs: Rotate:True
Note on C5: reference:B10 mrs: Rotate:True
Note on D5: reference:C5 mrs:(C5,+,-10.0000) Rotate:True
Note on E5: reference:D5,B15 mrs: Rotate:True
Note on F5: reference:D5,B15 mrs: Rotate:True
Note on G5: reference:E5,F5,B6,B14,B24 mrs:(E5,+,1000.0000) (F5,+,16.4180) Rotate:True
Note on H5: reference:F5,B14,B23 mrs:(F5,+,33.8990) Rotate:True
Note on I5: reference:G5,H5 mrs: Rotate:True
Note on J5: reference:G5,H5 mrs: Rotate:True
Note on K5: reference:E5,B23 mrs: Rotate:True
Note on L5: reference:E5,F5,B6,B14,B24 mrs:(E5,+,-435.8899) (F5,+,26549.4391) Rotate:True
Note on M5: reference:K5,L5 mrs: Rotate:True
Note on N5: reference:K5,L5 mrs: Rotate:True
Note on C6: reference:B10 mrs: Rotate:True
Note on D6: reference:C6 mrs:(C6,+,-10.0000) Rotate:True
Note on E6: reference:D6,B15 mrs: Rotate:True
Note on F6: reference:D6,B15 mrs: Rotate:True
Note on G6: reference:E6,F6,B6,B14,B24 mrs:(E6,+,1000.0000) (F6,+,16.4180) Rotate:True
Note on H6: reference:F6,B14,B23 mrs:(F6,+,33.8990) Rotate:True
Note on I6: reference:G6,H6 mrs: Rotate:True
Note on J6: reference:G6,H6 mrs: Rotate:True
Note on K6: reference:E6,B23 mrs: Rotate:True
Note on L6: reference:E6,F6,B6,B14,B24 mrs:(E6,+,-435.8899) (F6,+,26549.4391) Rotate:True
Note on M6: reference:K6,L6 mrs: Rotate:True
Note on N6: reference:K6,L6 mrs: Rotate:True
Note on C7: reference:B10 mrs: Rotate:True
Note on D7: reference:C7 mrs:(C7,+,-10.0000) Rotate:True
Note on E7: reference:D7,B15 mrs: Rotate:True
Note on F7: reference:D7,B15 mrs: Rotate:True
Note on G7: reference:E7,F7,B6,B14,B24 mrs:(E7,+,1000.0000) (F7,+,16.4180) Rotate:True
Note on H7: reference:F7,B14,B23 mrs:(F7,+,33.8990) Rotate:True
Note on I7: reference:G7,H7 mrs: Rotate:True
Note on J7: reference:G7,H7 mrs: Rotate:True
Note on K7: reference:E7,B23 mrs: Rotate:True
Note on L7: reference:E7,F7,B6,B14,B24 mrs:(E7,+,-435.8899) (F7,+,26549.4391) Rotate:True
Note on M7: reference:K7,L7 mrs: Rotate:True
Note on N7: reference:K7,L7 mrs: Rotate:True
Note on C8: reference:B10 mrs: Rotate:True
Note on D8: reference:C8 mrs:(C8,+,-10.0000) Rotate:True
Note on E8: reference:D8,B15 mrs: Rotate:True
Note on F8: reference:D8,B15 mrs: Rotate:True
Note on G8: reference:E8,F8,B6,B14,B24 mrs:(E8,+,1000.0000) (F8,+,16.4180) Rotate:True
Note on H8: reference:F8,B14,B23 mrs:(F8,+,33.8990) Rotate:True
Note on I8: reference:G8,H8 mrs: Rotate:True
Note on J8: reference:G8,H8 mrs: Rotate:True
Note on K8: reference:E8,B23 mrs: Rotate:True
Note on L8: reference:E8,F8,B6,B14,B24 mrs:(E8,+,-435.8899) (F8,+,26549.4391) Rotate:True
Note on M8: reference:K8,L8 mrs: Rotate:True
Note on N8: reference:K8,L8 mrs: Rotate:True
Note on C9: reference:B10 mrs: Rotate:True
Note on D9: reference:C9 mrs:(C9,+,-10.0000) Rotate:True
Note on E9: reference:D9,B15 mrs: Rotate:True
Note on F9: reference:D9,B15 mrs: Rotate:True
Note on G9: reference:E9,F9,B6,B14,B24 mrs:(E9,+,1000.0000) (F9,+,16.4180) Rotate:True
Note on H9: reference:F9,B14,B23 mrs:(F9,+,33.8990) Rotate:True
Note on I9: reference:G9,H9 mrs: Rotate:True
Note on J9: reference:G9,H9 mrs: Rotate:True
Note on K9: reference:E9,B23 mrs: Rotate:True
Note on L9: reference:E9,F9,B6,B14,B24 mrs:(E9,+,-435.8899) (F9,+,26549.4391) Rotate:True
Note on M9: reference:K9,L9 mrs: Rotate:True
Note on N9: reference:K9,L9 mrs: Rotate:True
Note on C10: reference:B10 mrs: Rotate:True
Note on D10: reference:C10 mrs:(C10,+,-10.0000) Rotate:True
Note on E10: reference:D10,B15 mrs: Rotate:True
Note on F10: reference:D10,B15 mrs: Rotate:True
Note on G10: reference:E10,F10,B6,B14,B24 mrs:(E10,+,1000.0000) (F10,+,16.4180) Rotate:True
Note on H10: reference:F10,B14,B23 mrs:(F10,+,33.8990) Rotate:True
Note on I10: reference:G10,H10 mrs: Rotate:True
Note on J10: reference:G10,H10 mrs: Rotate:True
Note on K10: reference:E10,B23 mrs: Rotate:True
Note on L10: reference:E10,F10,B6,B14,B24 mrs:(E10,+,-435.8899) (F10,+,26549.4391) Rotate:True
Note on M10: reference:K10,L10 mrs: Rotate:True
Note on N10: reference:K10,L10 mrs: Rotate:True
Note on C11: reference:B10 mrs: Rotate:True
Note on D11: reference:C11 mrs:(C11,+,-10.0000) Rotate:True
Note on E11: reference:D11,B15 mrs: Rotate:True
Note on F11: reference:D11,B15 mrs: Rotate:True
Note on G11: reference:E11,F11,B6,B14,B24 mrs:(E11,+,1000.0000) (F11,+,16.4180) Rotate:True
Note on H11: reference:F11,B14,B23 mrs:(F11,+,33.8990) Rotate:True
Note on I11: reference:G11,H11 mrs: Rotate:True
Note on J11: reference:G11,H11 mrs: Rotate:True
Note on K11: reference:E11,B23 mrs: Rotate:True
Note on L11: reference:E11,F11,B6,B14,B24 mrs:(E11,+,-435.8899) (F11,+,26549.4391) Rotate:True
Note on M11: reference:K11,L11 mrs: Rotate:True
Note on N11: reference:K11,L11 mrs: Rotate:True
Note on B12: reference:B4,B5 mrs:(B4,+,0.0000) (B5,+,0.0000) Rotate:True
Note on C12: reference:B10 mrs: Rotate:True
Note on D12: reference:C12 mrs:(C12,+,-10.0000) Rotate:True
Note on E12: reference:D12,B15 mrs: Rotate:True
Note on F12: reference:D12,B15 mrs: Rotate:True
Note on G12: reference:E12,F12,B6,B14,B24 mrs:(E12,+,1000.0000) (F12,+,16.4180) Rotate:True
Note on H12: reference:F12,B14,B23 mrs:(F12,+,33.8990) Rotate:True
Note on I12: reference:G12,H12 mrs: Rotate:True
Note on J12: reference:G12,H12 mrs: Rotate:True
Note on K12: reference:E12,B23 mrs: Rotate:True
Note on L12: reference:E12,F12,B6,B14,B24 mrs:(E12,+,-435.8899) (F12,+,26549.4391) Rotate:True
Note on M12: reference:K12,L12 mrs: Rotate:True
Note on N12: reference:K12,L12 mrs: Rotate:True
Note on B13: reference:B4 mrs:(B4,+,0.0000) Rotate:True
Note on C13: reference:B10 mrs: Rotate:True
Note on D13: reference:C13 mrs:(C13,+,-10.0000) Rotate:True
Note on E13: reference:D13,B15 mrs: Rotate:True
Note on F13: reference:D13,B15 mrs: Rotate:True
Note on G13: reference:E13,F13,B6,B14,B24 mrs:(E13,+,1000.0000) (F13,+,16.4180) Rotate:True
Note on H13: reference:F13,B14,B23 mrs:(F13,+,33.8990) Rotate:True
Note on I13: reference:G13,H13 mrs: Rotate:True
Note on J13: reference:G13,H13 mrs: Rotate:True
Note on K13: reference:E13,B23 mrs: Rotate:True
Note on L13: reference:E13,F13,B6,B14,B24 mrs:(E13,+,-435.8899) (F13,+,26549.4391) Rotate:True
Note on M13: reference:K13,L13 mrs: Rotate:True
Note on N13: reference:K13,L13 mrs: Rotate:True
Note on B14: reference:B12,B13 mrs:(B12,+,-37.6654) (B13,+,267201.4227) Rotate:True
Note on C14: reference:B10 mrs: Rotate:True
Note on D14: reference:C14 mrs:(C14,+,-10.0000) Rotate:True
Note on E14: reference:D14,B15 mrs: Rotate:True
Note on F14: reference:D14,B15 mrs: Rotate:True
Note on G14: reference:E14,F14,B6,B14,B24 mrs:(E14,+,1000.0000) (F14,+,16.4180) Rotate:True
Note on H14: reference:F14,B14,B23 mrs:(F14,+,33.8990) Rotate:True
Note on I14: reference:G14,H14 mrs: Rotate:True
Note on J14: reference:G14,H14 mrs: Rotate:True
Note on K14: reference:E14,B23 mrs: Rotate:True
Note on L14: reference:E14,F14,B6,B14,B24 mrs:(E14,+,-435.8899) (F14,+,26549.4391) Rotate:True
Note on M14: reference:K14,L14 mrs: Rotate:True
Note on N14: reference:K14,L14 mrs: Rotate:True
Note on B15: reference:B9,B12,B13 mrs:(B9,+,0.0000) (B12,+,0.5313) (B13,+,0.0141) Rotate:True
Note on C15: reference:B10 mrs: Rotate:True
Note on D15: reference:C15 mrs:(C15,+,-10.0000) Rotate:True
Note on E15: reference:D15,B15 mrs: Rotate:True
Note on F15: reference:D15,B15 mrs: Rotate:True
Note on G15: reference:E15,F15,B6,B14,B24 mrs:(E15,+,1000.0000) (F15,+,16.4180) Rotate:True
Note on H15: reference:F15,B14,B23 mrs:(F15,+,33.8990) Rotate:True
Note on I15: reference:G15,H15 mrs: Rotate:True
Note on J15: reference:G15,H15 mrs: Rotate:True
Note on K15: reference:E15,B23 mrs: Rotate:True
Note on L15: reference:E15,F15,B6,B14,B24 mrs:(E15,+,-435.8899) (F15,+,26549.4391) Rotate:True
Note on M15: reference:K15,L15 mrs: Rotate:True
Note on N15: reference:K15,L15 mrs: Rotate:True
Note on B16: reference:B9,B12,B13 mrs:(B9,+,-451.4462) (B12,+,-3160.1117) (B13,+,-3159.6781) Rotate:True
Note on C16: reference:B10 mrs: Rotate:True
Note on D16: reference:C16 mrs:(C16,+,-10.0000) Rotate:True
Note on E16: reference:D16,B15 mrs: Rotate:True
Note on F16: reference:D16,B15 mrs: Rotate:True
Note on G16: reference:E16,F16,B6,B14,B24 mrs:(E16,+,1000.0000) (F16,+,16.4180) Rotate:True
Note on H16: reference:F16,B14,B23 mrs:(F16,+,33.8990) Rotate:True
Note on I16: reference:G16,H16 mrs: Rotate:True
Note on J16: reference:G16,H16 mrs: Rotate:True
Note on K16: reference:E16,B23 mrs: Rotate:True
Note on L16: reference:E16,F16,B6,B14,B24 mrs:(E16,+,-435.8899) (F16,+,26549.4391) Rotate:True
Note on M16: reference:K16,L16 mrs: Rotate:True
Note on N16: reference:K16,L16 mrs: Rotate:True
Note on B17: reference:B12,B13 mrs:(B12,+,-189606700.0339) (B13,+,-189580685.6303) Rotate:True
Note on C17: reference:B10 mrs: Rotate:True
Note on D17: reference:C17 mrs:(C17,+,-10.0000) Rotate:True
Note on E17: reference:D17,B15 mrs: Rotate:True
Note on F17: reference:D17,B15 mrs: Rotate:True
Note on G17: reference:E17,F17,B6,B14,B24 mrs:(E17,+,1000.0000) (F17,+,16.4180) Rotate:True
Note on H17: reference:F17,B14,B23 mrs:(F17,+,33.8990) Rotate:True
Note on I17: reference:G17,H17 mrs: Rotate:True
Note on J17: reference:G17,H17 mrs: Rotate:True
Note on K17: reference:E17,B23 mrs: Rotate:True
Note on L17: reference:E17,F17,B6,B14,B24 mrs:(E17,+,-435.8899) (F17,+,26549.4391) Rotate:True
Note on M17: reference:K17,L17 mrs: Rotate:True
Note on N17: reference:K17,L17 mrs: Rotate:True
Note on B18: reference:B5 mrs:(B5,+,-104812398.1854) Rotate:True
Note on C18: reference:B10 mrs: Rotate:True
Note on D18: reference:C18 mrs:(C18,+,-10.0000) Rotate:True
Note on E18: reference:D18,B15 mrs: Rotate:True
Note on F18: reference:D18,B15 mrs: Rotate:True
Note on G18: reference:E18,F18,B6,B14,B24 mrs:(E18,+,1000.0000) (F18,+,16.4180) Rotate:True
Note on H18: reference:F18,B14,B23 mrs:(F18,+,33.8990) Rotate:True
Note on I18: reference:G18,H18 mrs: Rotate:True
Note on J18: reference:G18,H18 mrs: Rotate:True
Note on K18: reference:E18,B23 mrs: Rotate:True
Note on L18: reference:E18,F18,B6,B14,B24 mrs:(E18,+,-435.8899) (F18,+,26549.4391) Rotate:True
Note on M18: reference:K18,L18 mrs: Rotate:True
Note on N18: reference:K18,L18 mrs: Rotate:True
Note on B19: reference:B7,B8 mrs:(B7,+,9.0000) (B8,+,100.0000) Rotate:True
Note on C19: reference:B10 mrs: Rotate:True
Note on D19: reference:C19 mrs:(C19,+,-10.0000) Rotate:True
Note on E19: reference:D19,B15 mrs: Rotate:True
Note on F19: reference:D19,B15 mrs: Rotate:True
Note on G19: reference:E19,F19,B6,B14,B24 mrs:(E19,+,1000.0000) (F19,+,16.4180) Rotate:True
Note on H19: reference:F19,B14,B23 mrs:(F19,+,33.8990) Rotate:True
Note on I19: reference:G19,H19 mrs: Rotate:True
Note on J19: reference:G19,H19 mrs: Rotate:True
Note on K19: reference:E19,B23 mrs: Rotate:True
Note on L19: reference:E19,F19,B6,B14,B24 mrs:(E19,+,-435.8899) (F19,+,26549.4391) Rotate:True
Note on M19: reference:K19,L19 mrs: Rotate:True
Note on N19: reference:K19,L19 mrs: Rotate:True
Note on C20: reference:B10 mrs: Rotate:True
Note on D20: reference:C20 mrs:(C20,+,-10.0000) Rotate:True
Note on E20: reference:D20,B15 mrs: Rotate:True
Note on F20: reference:D20,B15 mrs: Rotate:True
Note on G20: reference:E20,F20,B6,B14,B24 mrs:(E20,+,1000.0000) (F20,+,16.4180) Rotate:True
Note on H20: reference:F20,B14,B23 mrs:(F20,+,33.8990) Rotate:True
Note on I20: reference:G20,H20 mrs: Rotate:True
Note on J20: reference:G20,H20 mrs: Rotate:True
Note on K20: reference:E20,B23 mrs: Rotate:True
Note on L20: reference:E20,F20,B6,B14,B24 mrs:(E20,+,-435.8899) (F20,+,26549.4391) Rotate:True
Note on M20: reference:K20,L20 mrs: Rotate:True
Note on N20: reference:K20,L20 mrs: Rotate:True
Note on B21: reference:B6,B7 mrs:(B6,+,-9.0909) (B7,+,100.0000) Rotate:True
Note on C21: reference:B10 mrs: Rotate:True
Note on D21: reference:C21 mrs:(C21,+,-10.0000) Rotate:True
Note on E21: reference:D21,B15 mrs: Rotate:True
Note on F21: reference:D21,B15 mrs: Rotate:True
Note on G21: reference:E21,F21,B6,B14,B24 mrs:(E21,+,1000.0000) (F21,+,16.4180) Rotate:True
Note on H21: reference:F21,B14,B23 mrs:(F21,+,33.8990) Rotate:True
Note on I21: reference:G21,H21 mrs: Rotate:True
Note on J21: reference:G21,H21 mrs: Rotate:True
Note on K21: reference:E21,B23 mrs: Rotate:True
Note on L21: reference:E21,F21,B6,B14,B24 mrs:(E21,+,-435.8899) (F21,+,26549.4391) Rotate:True
Note on M21: reference:K21,L21 mrs: Rotate:True
Note on N21: reference:K21,L21 mrs: Rotate:True
Note on B22: reference:B8 mrs:(B8,+,61.8419) Rotate:True
Note on C22: reference:B10 mrs: Rotate:True
Note on D22: reference:C22 mrs:(C22,+,-10.0000) Rotate:True
Note on E22: reference:D22,B15 mrs: Rotate:True
Note on F22: reference:D22,B15 mrs: Rotate:True
Note on G22: reference:E22,F22,B6,B14,B24 mrs:(E22,+,1000.0000) (F22,+,16.4180) Rotate:True
Note on H22: reference:F22,B14,B23 mrs:(F22,+,33.8990) Rotate:True
Note on I22: reference:G22,H22 mrs: Rotate:True
Note on J22: reference:G22,H22 mrs: Rotate:True
Note on K22: reference:E22,B23 mrs: Rotate:True
Note on L22: reference:E22,F22,B6,B14,B24 mrs:(E22,+,-435.8899) (F22,+,26549.4391) Rotate:True
Note on M22: reference:K22,L22 mrs: Rotate:True
Note on N22: reference:K22,L22 mrs: Rotate:True
Note on B23: reference:B21,B22 mrs:(B21,+,9.0000) (B22,+,6.2018) Rotate:True
Note on C23: reference:B10 mrs: Rotate:True
Note on D23: reference:C23 mrs:(C23,+,-10.0000) Rotate:True
Note on E23: reference:D23,B15 mrs: Rotate:True
Note on F23: reference:D23,B15 mrs: Rotate:True
Note on G23: reference:E23,F23,B6,B14,B24 mrs:(E23,+,1000.0000) (F23,+,16.4180) Rotate:True
Note on H23: reference:F23,B14,B23 mrs:(F23,+,33.8990) Rotate:True
Note on I23: reference:G23,H23 mrs: Rotate:True
Note on J23: reference:G23,H23 mrs: Rotate:True
Note on K23: reference:E23,B23 mrs: Rotate:True
Note on L23: reference:E23,F23,B6,B14,B24 mrs:(E23,+,-435.8899) (F23,+,26549.4391) Rotate:True
Note on M23: reference:K23,L23 mrs: Rotate:True
Note on N23: reference:K23,L23 mrs: Rotate:True
Note on B24: reference:B21,B22 mrs:(B21,+,-4.3589) (B22,+,16.2906) Rotate:True
Note on C24: reference:B10 mrs: Rotate:True
Note on D24: reference:C24 mrs:(C24,+,-10.0000) Rotate:True
Note on E24: reference:D24,B15 mrs: Rotate:True
Note on F24: reference:D24,B15 mrs: Rotate:True
Note on G24: reference:E24,F24,B6,B14,B24 mrs:(E24,+,1000.0000) (F24,+,16.4180) Rotate:True
Note on H24: reference:F24,B14,B23 mrs:(F24,+,33.8990) Rotate:True
Note on I24: reference:G24,H24 mrs: Rotate:True
Note on J24: reference:G24,H24 mrs: Rotate:True
Note on K24: reference:E24,B23 mrs: Rotate:True
Note on L24: reference:E24,F24,B6,B14,B24 mrs:(E24,+,-435.8899) (F24,+,26549.4391) Rotate:True
Note on M24: reference:K24,L24 mrs: Rotate:True
Note on N24: reference:K24,L24 mrs: Rotate:True
Note on B25: reference:B6,B21,B22 mrs:(B6,+,90.0000) (B21,+,-81.8182) (B22,+,62.0185) Rotate:True
Note on C25: reference:B10 mrs: Rotate:True
Note on D25: reference:C25 mrs:(C25,+,-10.0000) Rotate:True
Note on E25: reference:D25,B15 mrs: Rotate:True
Note on F25: reference:D25,B15 mrs: Rotate:True
Note on G25: reference:E25,F25,B6,B14,B24 mrs:(E25,+,1000.0000) (F25,+,16.4180) Rotate:True
Note on H25: reference:F25,B14,B23 mrs:(F25,+,33.8990) Rotate:True
Note on I25: reference:G25,H25 mrs: Rotate:True
Note on J25: reference:G25,H25 mrs: Rotate:True
Note on K25: reference:E25,B23 mrs: Rotate:True
Note on L25: reference:E25,F25,B6,B14,B24 mrs:(E25,+,-435.8899) (F25,+,26549.4391) Rotate:True
Note on M25: reference:K25,L25 mrs: Rotate:True
Note on N25: reference:K25,L25 mrs: Rotate:True
Note on B26: reference:B6,B21,B22 mrs:(B6,+,-43.5890) (B21,+,39.6264) (B22,+,162.9055) Rotate:True
Note on C26: reference:B10 mrs: Rotate:True
Note on D26: reference:C26 mrs:(C26,+,-10.0000) Rotate:True
Note on E26: reference:D26,B15 mrs: Rotate:True
Note on F26: reference:D26,B15 mrs: Rotate:True
Note on G26: reference:E26,F26,B6,B14,B24 mrs:(E26,+,1000.0000) (F26,+,16.4180) Rotate:True
Note on H26: reference:F26,B14,B23 mrs:(F26,+,33.8990) Rotate:True
Note on I26: reference:G26,H26 mrs: Rotate:True
Note on J26: reference:G26,H26 mrs: Rotate:True
Note on K26: reference:E26,B23 mrs: Rotate:True
Note on L26: reference:E26,F26,B6,B14,B24 mrs:(E26,+,-435.8899) (F26,+,26549.4391) Rotate:True
Note on M26: reference:K26,L26 mrs: Rotate:True
Note on N26: reference:K26,L26 mrs: Rotate:True
Note on B27: reference:B6,B21 mrs:(B6,+,100.0000) (B21,+,-90.9091) Rotate:True
Note on C27: reference:B10 mrs: Rotate:True
Note on D27: reference:C27 mrs:(C27,+,-10.0000) Rotate:True
Note on E27: reference:D27,B15 mrs: Rotate:True
Note on F27: reference:D27,B15 mrs: Rotate:True
Note on G27: reference:E27,F27,B6,B14,B24 mrs:(E27,+,1000.0000) (F27,+,16.4180) Rotate:True
Note on H27: reference:F27,B14,B23 mrs:(F27,+,33.8990) Rotate:True
Note on I27: reference:G27,H27 mrs: Rotate:True
Note on J27: reference:G27,H27 mrs: Rotate:True
Note on K27: reference:E27,B23 mrs: Rotate:True
Note on L27: reference:E27,F27,B6,B14,B24 mrs:(E27,+,-435.8899) (F27,+,26549.4391) Rotate:True
Note on M27: reference:K27,L27 mrs: Rotate:True
Note on N27: reference:K27,L27 mrs: Rotate:True
Note on B28: reference:B6,B14,B23 mrs:(B6,+,5.0000) (B14,+,-0.4500) (B23,+,-0.1883) Rotate:True
Note on C28: reference:B10 mrs: Rotate:True
Note on D28: reference:C28 mrs:(C28,+,-10.0000) Rotate:True
Note on E28: reference:D28,B15 mrs: Rotate:True
Note on F28: reference:D28,B15 mrs: Rotate:True
Note on G28: reference:E28,F28,B6,B14,B24 mrs:(E28,+,1000.0000) (F28,+,16.4180) Rotate:True
Note on H28: reference:F28,B14,B23 mrs:(F28,+,33.8990) Rotate:True
Note on I28: reference:G28,H28 mrs: Rotate:True
Note on J28: reference:G28,H28 mrs: Rotate:True
Note on K28: reference:E28,B23 mrs: Rotate:True
Note on L28: reference:E28,F28,B6,B14,B24 mrs:(E28,+,-435.8899) (F28,+,26549.4391) Rotate:True
Note on M28: reference:K28,L28 mrs: Rotate:True
Note on N28: reference:K28,L28 mrs: Rotate:True
Note on B29: reference:B14,B24 mrs:(B14,+,0.2179) (B24,+,-0.1883) Rotate:True
Note on C29: reference:B10 mrs: Rotate:True
Note on D29: reference:C29 mrs:(C29,+,-10.0000) Rotate:True
Note on E29: reference:D29,B15 mrs: Rotate:True
Note on F29: reference:D29,B15 mrs: Rotate:True
Note on G29: reference:E29,F29,B6,B14,B24 mrs:(E29,+,1000.0000) (F29,+,16.4180) Rotate:True
Note on H29: reference:F29,B14,B23 mrs:(F29,+,33.8990) Rotate:True
Note on I29: reference:G29,H29 mrs: Rotate:True
Note on J29: reference:G29,H29 mrs: Rotate:True
Note on K29: reference:E29,B23 mrs: Rotate:True
Note on L29: reference:E29,F29,B6,B14,B24 mrs:(E29,+,-435.8899) (F29,+,26549.4391) Rotate:True
Note on M29: reference:K29,L29 mrs: Rotate:True
Note on N29: reference:K29,L29 mrs: Rotate:True
Note on B30: reference:B6,B14,B23 mrs:(B6,+,5.0000) (B14,+,0.4500) (B23,+,0.1883) Rotate:True
Note on C30: reference:B10 mrs: Rotate:True
Note on D30: reference:C30 mrs:(C30,+,-10.0000) Rotate:True
Note on E30: reference:D30,B15 mrs: Rotate:True
Note on F30: reference:D30,B15 mrs: Rotate:True
Note on G30: reference:E30,F30,B6,B14,B24 mrs:(E30,+,1000.0000) (F30,+,16.4180) Rotate:True
Note on H30: reference:F30,B14,B23 mrs:(F30,+,33.8990) Rotate:True
Note on I30: reference:G30,H30 mrs: Rotate:True
Note on J30: reference:G30,H30 mrs: Rotate:True
Note on K30: reference:E30,B23 mrs: Rotate:True
Note on L30: reference:E30,F30,B6,B14,B24 mrs:(E30,+,-435.8899) (F30,+,26549.4391) Rotate:True
Note on M30: reference:K30,L30 mrs: Rotate:True
Note on N30: reference:K30,L30 mrs: Rotate:True
Note on B31: reference:B14,B24 mrs:(B14,+,-0.2179) (B24,+,0.1883) Rotate:True
Note on C31: reference:B10 mrs: Rotate:True
Note on D31: reference:C31 mrs:(C31,+,-10.0000) Rotate:True
Note on E31: reference:D31,B15 mrs: Rotate:True
Note on F31: reference:D31,B15 mrs: Rotate:True
Note on G31: reference:E31,F31,B6,B14,B24 mrs:(E31,+,1000.0000) (F31,+,16.4180) Rotate:True
Note on H31: reference:F31,B14,B23 mrs:(F31,+,33.8990) Rotate:True
Note on I31: reference:G31,H31 mrs: Rotate:True
Note on J31: reference:G31,H31 mrs: Rotate:True
Note on K31: reference:E31,B23 mrs: Rotate:True
Note on L31: reference:E31,F31,B6,B14,B24 mrs:(E31,+,-435.8899) (F31,+,26549.4391) Rotate:True
Note on M31: reference:K31,L31 mrs: Rotate:True
Note on N31: reference:K31,L31 mrs: Rotate:True
Note on B32: reference:B28,B29,B30,B31 mrs: forward:False 1.0:(B28:B31,) add:B28:B31:0.0018387384885431013 Rotate:True
Note on C32: reference:B10 mrs: Rotate:True
Note on D32: reference:C32 mrs:(C32,+,-10.0000) Rotate:True
Note on E32: reference:D32,B15 mrs: Rotate:True
Note on F32: reference:D32,B15 mrs: Rotate:True
Note on G32: reference:E32,F32,B6,B14,B24 mrs:(E32,+,1000.0000) (F32,+,16.4180) Rotate:True
Note on H32: reference:F32,B14,B23 mrs:(F32,+,33.8990) Rotate:True
Note on I32: reference:G32,H32 mrs: Rotate:True
Note on J32: reference:G32,H32 mrs: Rotate:True
Note on K32: reference:E32,B23 mrs: Rotate:True
Note on L32: reference:E32,F32,B6,B14,B24 mrs:(E32,+,-435.8899) (F32,+,26549.4391) Rotate:True
Note on M32: reference:K32,L32 mrs: Rotate:True
Note on N32: reference:K32,L32 mrs: Rotate:True
Note on B33: reference:B28,B29,B30,B31 mrs: forward:False add:B28:B31:0.0006646377561661775 Rotate:True
Note on C33: reference:B10 mrs: Rotate:True
Note on D33: reference:C33 mrs:(C33,+,-10.0000) Rotate:True
Note on E33: reference:D33,B15 mrs: Rotate:True
Note on F33: reference:D33,B15 mrs: Rotate:True
Note on G33: reference:E33,F33,B6,B14,B24 mrs:(E33,+,1000.0000) (F33,+,16.4180) Rotate:True
Note on H33: reference:F33,B14,B23 mrs:(F33,+,33.8990) Rotate:True
Note on I33: reference:G33,H33 mrs: Rotate:True
Note on J33: reference:G33,H33 mrs: Rotate:True
Note on K33: reference:E33,B23 mrs: Rotate:True
Note on L33: reference:E33,F33,B6,B14,B24 mrs:(E33,+,-435.8899) (F33,+,26549.4391) Rotate:True
Note on M33: reference:K33,L33 mrs: Rotate:True
Note on N33: reference:K33,L33 mrs: Rotate:True
Note on B34: reference:B32,B33 mrs:(B32,+,9.9995) (B33,+,9.1397) Rotate:True
Note on C34: reference:B10 mrs: Rotate:True
Note on D34: reference:C34 mrs:(C34,+,-10.0000) Rotate:True
Note on E34: reference:D34,B15 mrs: Rotate:True
Note on F34: reference:D34,B15 mrs: Rotate:True
Note on G34: reference:E34,F34,B6,B14,B24 mrs:(E34,+,1000.0000) (F34,+,16.4180) Rotate:True
Note on H34: reference:F34,B14,B23 mrs:(F34,+,33.8990) Rotate:True
Note on I34: reference:G34,H34 mrs: Rotate:True
Note on J34: reference:G34,H34 mrs: Rotate:True
Note on K34: reference:E34,B23 mrs: Rotate:True
Note on L34: reference:E34,F34,B6,B14,B24 mrs:(E34,+,-435.8899) (F34,+,26549.4391) Rotate:True
Note on M34: reference:K34,L34 mrs: Rotate:True
Note on N34: reference:K34,L34 mrs: Rotate:True
Note on B35: reference:B34 mrs:(B34,+,-30.7087) Rotate:True
Note on C35: reference:B10 mrs: Rotate:True
Note on D35: reference:C35 mrs:(C35,+,-10.0000) Rotate:True
Note on E35: reference:D35,B15 mrs: Rotate:True
Note on F35: reference:D35,B15 mrs: Rotate:True
Note on G35: reference:E35,F35,B6,B14,B24 mrs:(E35,+,1000.0000) (F35,+,16.4180) Rotate:True
Note on H35: reference:F35,B14,B23 mrs:(F35,+,33.8990) Rotate:True
Note on I35: reference:G35,H35 mrs: Rotate:True
Note on J35: reference:G35,H35 mrs: Rotate:True
Note on K35: reference:E35,B23 mrs: Rotate:True
Note on L35: reference:E35,F35,B6,B14,B24 mrs:(E35,+,-435.8899) (F35,+,26549.4391) Rotate:True
Note on M35: reference:K35,L35 mrs: Rotate:True
Note on N35: reference:K35,L35 mrs: Rotate:True
Note on C36: reference:B10 mrs: Rotate:True
Note on D36: reference:C36 mrs:(C36,+,-10.0000) Rotate:True
Note on E36: reference:D36,B15 mrs: Rotate:True
Note on F36: reference:D36,B15 mrs: Rotate:True
Note on G36: reference:E36,F36,B6,B14,B24 mrs:(E36,+,1000.0000) (F36,+,16.4180) Rotate:True
Note on H36: reference:F36,B14,B23 mrs:(F36,+,33.8990) Rotate:True
Note on I36: reference:G36,H36 mrs: Rotate:True
Note on J36: reference:G36,H36 mrs: Rotate:True
Note on K36: reference:E36,B23 mrs: Rotate:True
Note on L36: reference:E36,F36,B6,B14,B24 mrs:(E36,+,-435.8899) (F36,+,26549.4391) Rotate:True
Note on M36: reference:K36,L36 mrs: Rotate:True
Note on N36: reference:K36,L36 mrs: Rotate:True
Note on C37: reference:B10 mrs: Rotate:True
Note on D37: reference:C37 mrs:(C37,+,-10.0000) Rotate:True
Note on E37: reference:D37,B15 mrs: Rotate:True
Note on F37: reference:D37,B15 mrs: Rotate:True
Note on G37: reference:E37,F37,B6,B14,B24 mrs:(E37,+,1000.0000) (F37,+,16.4180) Rotate:True
Note on H37: reference:F37,B14,B23 mrs:(F37,+,33.8990) Rotate:True
Note on I37: reference:G37,H37 mrs: Rotate:True
Note on J37: reference:G37,H37 mrs: Rotate:True
Note on K37: reference:E37,B23 mrs: Rotate:True
Note on L37: reference:E37,F37,B6,B14,B24 mrs:(E37,+,-435.8899) (F37,+,26549.4391) Rotate:True
Note on M37: reference:K37,L37 mrs: Rotate:True
Note on N37: reference:K37,L37 mrs: Rotate:True
Note on C38: reference:B10 mrs: Rotate:True
Note on D38: reference:C38 mrs:(C38,+,-10.0000) Rotate:True
Note on E38: reference:D38,B15 mrs: Rotate:True
Note on F38: reference:D38,B15 mrs: Rotate:True
Note on G38: reference:E38,F38,B6,B14,B24 mrs:(E38,+,1000.0000) (F38,+,16.4180) Rotate:True
Note on H38: reference:F38,B14,B23 mrs:(F38,+,33.8990) Rotate:True
Note on I38: reference:G38,H38 mrs: Rotate:True
Note on J38: reference:G38,H38 mrs: Rotate:True
Note on K38: reference:E38,B23 mrs: Rotate:True
Note on L38: reference:E38,F38,B6,B14,B24 mrs:(E38,+,-435.8899) (F38,+,26549.4391) Rotate:True
Note on M38: reference:K38,L38 mrs: Rotate:True
Note on N38: reference:K38,L38 mrs: Rotate:True
Note on C39: reference:B10 mrs: Rotate:True
Note on D39: reference:C39 mrs:(C39,+,-10.0000) Rotate:True
Note on E39: reference:D39,B15 mrs: Rotate:True
Note on F39: reference:D39,B15 mrs: Rotate:True
Note on G39: reference:E39,F39,B6,B14,B24 mrs:(E39,+,1000.0000) (F39,+,16.4180) Rotate:True
Note on H39: reference:F39,B14,B23 mrs:(F39,+,33.8990) Rotate:True
Note on I39: reference:G39,H39 mrs: Rotate:True
Note on J39: reference:G39,H39 mrs: Rotate:True
Note on K39: reference:E39,B23 mrs: Rotate:True
Note on L39: reference:E39,F39,B6,B14,B24 mrs:(E39,+,-435.8899) (F39,+,26549.4391) Rotate:True
Note on M39: reference:K39,L39 mrs: Rotate:True
Note on N39: reference:K39,L39 mrs: Rotate:True
Note on C40: reference:B10 mrs: Rotate:True
Note on D40: reference:C40 mrs:(C40,+,-10.0000) Rotate:True
Note on E40: reference:D40,B15 mrs: Rotate:True
Note on F40: reference:D40,B15 mrs: Rotate:True
Note on G40: reference:E40,F40,B6,B14,B24 mrs:(E40,+,1000.0000) (F40,+,16.4180) Rotate:True
Note on H40: reference:F40,B14,B23 mrs:(F40,+,33.8990) Rotate:True
Note on I40: reference:G40,H40 mrs: Rotate:True
Note on J40: reference:G40,H40 mrs: Rotate:True
Note on K40: reference:E40,B23 mrs: Rotate:True
Note on L40: reference:E40,F40,B6,B14,B24 mrs:(E40,+,-435.8899) (F40,+,26549.4391) Rotate:True
Note on M40: reference:K40,L40 mrs: Rotate:True
Note on N40: reference:K40,L40 mrs: Rotate:True
Note on C41: reference:B10 mrs: Rotate:True
Note on D41: reference:C41 mrs:(C41,+,-10.0000) Rotate:True
Note on E41: reference:D41,B15 mrs: Rotate:True
Note on F41: reference:D41,B15 mrs: Rotate:True
Note on G41: reference:E41,F41,B6,B14,B24 mrs:(E41,+,1000.0000) (F41,+,16.4180) Rotate:True
Note on H41: reference:F41,B14,B23 mrs:(F41,+,33.8990) Rotate:True
Note on I41: reference:G41,H41 mrs: Rotate:True
Note on J41: reference:G41,H41 mrs: Rotate:True
Note on K41: reference:E41,B23 mrs: Rotate:True
Note on L41: reference:E41,F41,B6,B14,B24 mrs:(E41,+,-435.8899) (F41,+,26549.4391) Rotate:True
Note on M41: reference:K41,L41 mrs: Rotate:True
Note on N41: reference:K41,L41 mrs: Rotate:True
Note on C42: reference:B10 mrs: Rotate:True
Note on D42: reference:C42 mrs:(C42,+,-10.0000) Rotate:True
Note on E42: reference:D42,B15 mrs: Rotate:True
Note on F42: reference:D42,B15 mrs: Rotate:True
Note on G42: reference:E42,F42,B6,B14,B24 mrs:(E42,+,1000.0000) (F42,+,16.4180) Rotate:True
Note on H42: reference:F42,B14,B23 mrs:(F42,+,33.8990) Rotate:True
Note on I42: reference:G42,H42 mrs: Rotate:True
Note on J42: reference:G42,H42 mrs: Rotate:True
Note on K42: reference:E42,B23 mrs: Rotate:True
Note on L42: reference:E42,F42,B6,B14,B24 mrs:(E42,+,-435.8899) (F42,+,26549.4391) Rotate:True
Note on M42: reference:K42,L42 mrs: Rotate:True
Note on N42: reference:K42,L42 mrs: Rotate:True
Note on C43: reference:B10 mrs: Rotate:True
Note on D43: reference:C43 mrs:(C43,+,-10.0000) Rotate:True
Note on E43: reference:D43,B15 mrs: Rotate:True
Note on F43: reference:D43,B15 mrs: Rotate:True
Note on G43: reference:E43,F43,B6,B14,B24 mrs:(E43,+,1000.0000) (F43,+,16.4180) Rotate:True
Note on H43: reference:F43,B14,B23 mrs:(F43,+,33.8990) Rotate:True
Note on I43: reference:G43,H43 mrs: Rotate:True
Note on J43: reference:G43,H43 mrs: Rotate:True
Note on K43: reference:E43,B23 mrs: Rotate:True
Note on L43: reference:E43,F43,B6,B14,B24 mrs:(E43,+,-435.8899) (F43,+,26549.4391) Rotate:True
Note on M43: reference:K43,L43 mrs: Rotate:True
Note on N43: reference:K43,L43 mrs: Rotate:True
Note on C44: reference:B10 mrs: Rotate:True
Note on D44: reference:C44 mrs:(C44,+,-10.0000) Rotate:True
Note on E44: reference:D44,B15 mrs: Rotate:True
Note on F44: reference:D44,B15 mrs: Rotate:True
Note on G44: reference:E44,F44,B6,B14,B24 mrs:(E44,+,1000.0000) (F44,+,16.4180) Rotate:True
Note on H44: reference:F44,B14,B23 mrs:(F44,+,33.8990) Rotate:True
Note on I44: reference:G44,H44 mrs: Rotate:True
Note on J44: reference:G44,H44 mrs: Rotate:True
Note on K44: reference:E44,B23 mrs: Rotate:True
Note on L44: reference:E44,F44,B6,B14,B24 mrs:(E44,+,-435.8899) (F44,+,26549.4391) Rotate:True
Note on M44: reference:K44,L44 mrs: Rotate:True
Note on N44: reference:K44,L44 mrs: Rotate:True
Note on C45: reference:B10 mrs: Rotate:True
Note on D45: reference:C45 mrs:(C45,+,-10.0000) Rotate:True
Note on E45: reference:D45,B15 mrs: Rotate:True
Note on F45: reference:D45,B15 mrs: Rotate:True
Note on G45: reference:E45,F45,B6,B14,B24 mrs:(E45,+,1000.0000) (F45,+,16.4180) Rotate:True
Note on H45: reference:F45,B14,B23 mrs:(F45,+,33.8990) Rotate:True
Note on I45: reference:G45,H45 mrs: Rotate:True
Note on J45: reference:G45,H45 mrs: Rotate:True
Note on K45: reference:E45,B23 mrs: Rotate:True
Note on L45: reference:E45,F45,B6,B14,B24 mrs:(E45,+,-435.8899) (F45,+,26549.4391) Rotate:True
Note on M45: reference:K45,L45 mrs: Rotate:True
Note on N45: reference:K45,L45 mrs: Rotate:True
Note on C46: reference:B10 mrs: Rotate:True
Note on D46: reference:C46 mrs:(C46,+,-10.0000) Rotate:True
Note on E46: reference:D46,B15 mrs: Rotate:True
Note on F46: reference:D46,B15 mrs: Rotate:True
Note on G46: reference:E46,F46,B6,B14,B24 mrs:(E46,+,1000.0000) (F46,+,16.4180) Rotate:True
Note on H46: reference:F46,B14,B23 mrs:(F46,+,33.8990) Rotate:True
Note on I46: reference:G46,H46 mrs: Rotate:True
Note on J46: reference:G46,H46 mrs: Rotate:True
Note on K46: reference:E46,B23 mrs: Rotate:True
Note on L46: reference:E46,F46,B6,B14,B24 mrs:(E46,+,-435.8899) (F46,+,26549.4391) Rotate:True
Note on M46: reference:K46,L46 mrs: Rotate:True
Note on N46: reference:K46,L46 mrs: Rotate:True
Note on C47: reference:B10 mrs: Rotate:True
Note on D47: reference:C47 mrs:(C47,+,-10.0000) Rotate:True
Note on E47: reference:D47,B15 mrs: Rotate:True
Note on F47: reference:D47,B15 mrs: Rotate:True
Note on G47: reference:E47,F47,B6,B14,B24 mrs:(E47,+,1000.0000) (F47,+,16.4180) Rotate:True
Note on H47: reference:F47,B14,B23 mrs:(F47,+,33.8990) Rotate:True
Note on I47: reference:G47,H47 mrs: Rotate:True
Note on J47: reference:G47,H47 mrs: Rotate:True
Note on K47: reference:E47,B23 mrs: Rotate:True
Note on L47: reference:E47,F47,B6,B14,B24 mrs:(E47,+,-435.8899) (F47,+,26549.4391) Rotate:True
Note on M47: reference:K47,L47 mrs: Rotate:True
Note on N47: reference:K47,L47 mrs: Rotate:True
Note on C48: reference:B10 mrs: Rotate:True
Note on D48: reference:C48 mrs:(C48,+,-10.0000) Rotate:True
Note on E48: reference:D48,B15 mrs: Rotate:True
Note on F48: reference:D48,B15 mrs: Rotate:True
Note on G48: reference:E48,F48,B6,B14,B24 mrs:(E48,+,1000.0000) (F48,+,16.4180) Rotate:True
Note on H48: reference:F48,B14,B23 mrs:(F48,+,33.8990) Rotate:True
Note on I48: reference:G48,H48 mrs: Rotate:True
Note on J48: reference:G48,H48 mrs: Rotate:True
Note on K48: reference:E48,B23 mrs: Rotate:True
Note on L48: reference:E48,F48,B6,B14,B24 mrs:(E48,+,-435.8899) (F48,+,26549.4391) Rotate:True
Note on M48: reference:K48,L48 mrs: Rotate:True
Note on N48: reference:K48,L48 mrs: Rotate:True
Note on C49: reference:B10 mrs: Rotate:True
Note on D49: reference:C49 mrs:(C49,+,-10.0000) Rotate:True
Note on E49: reference:D49,B15 mrs: Rotate:True
Note on F49: reference:D49,B15 mrs: Rotate:True
Note on G49: reference:E49,F49,B6,B14,B24 mrs:(E49,+,1000.0000) (F49,+,16.4180) Rotate:True
Note on H49: reference:F49,B14,B23 mrs:(F49,+,33.8990) Rotate:True
Note on I49: reference:G49,H49 mrs: Rotate:True
Note on J49: reference:G49,H49 mrs: Rotate:True
Note on K49: reference:E49,B23 mrs: Rotate:True
Note on L49: reference:E49,F49,B6,B14,B24 mrs:(E49,+,-435.8899) (F49,+,26549.4391) Rotate:True
Note on M49: reference:K49,L49 mrs: Rotate:True
Note on N49: reference:K49,L49 mrs: Rotate:True
Note on C50: reference:B10 mrs: Rotate:True
Note on E50: reference:D50,B15 mrs: Rotate:True
Note on F50: reference:D50,B15 mrs: Rotate:True
Note on G50: reference:E50,F50,B6,B14,B24 mrs:(E50,+,1000.0000) (F50,+,16.4180) Rotate:True
Note on H50: reference:F50,B14,B23 mrs:(F50,+,33.8990) Rotate:True
Note on I50: reference:G50,H50 mrs: Rotate:True
Note on J50: reference:G50,H50 mrs: Rotate:True
Note on K50: reference:E50,B23 mrs: Rotate:True
Note on L50: reference:E50,F50,B6,B14,B24 mrs:(E50,+,-435.8899) (F50,+,26549.4391) Rotate:True
Note on M50: reference:K50,L50 mrs: Rotate:True
Note on N50: reference:K50,L50 mrs: Rotate:True
Note on C51: reference:B10 mrs: Rotate:True
Note on D51: reference:C51 mrs:(C51,+,-10.0000) Rotate:True
Note on E51: reference:D51,B15 mrs: Rotate:True
Note on F51: reference:D51,B15 mrs: Rotate:True
Note on G51: reference:E51,F51,B6,B14,B24 mrs:(E51,+,1000.0000) (F51,+,16.4180) Rotate:True
Note on H51: reference:F51,B14,B23 mrs:(F51,+,33.8990) Rotate:True
Note on I51: reference:G51,H51 mrs: Rotate:True
Note on J51: reference:G51,H51 mrs: Rotate:True
Note on K51: reference:E51,B23 mrs: Rotate:True
Note on L51: reference:E51,F51,B6,B14,B24 mrs:(E51,+,-435.8899) (F51,+,26549.4391) Rotate:True
Note on M51: reference:K51,L51 mrs: Rotate:True
Note on N51: reference:K51,L51 mrs: Rotate:True
Note on C52: reference:B10 mrs: Rotate:True
Note on D52: reference:C52 mrs:(C52,+,-10.0000) Rotate:True
Note on E52: reference:D52,B15 mrs: Rotate:True
Note on F52: reference:D52,B15 mrs: Rotate:True
Note on G52: reference:E52,F52,B6,B14,B24 mrs:(E52,+,1000.0000) (F52,+,16.4180) Rotate:True
Note on H52: reference:F52,B14,B23 mrs:(F52,+,33.8990) Rotate:True
Note on I52: reference:G52,H52 mrs: Rotate:True
Note on J52: reference:G52,H52 mrs: Rotate:True
Note on K52: reference:E52,B23 mrs: Rotate:True
Note on L52: reference:E52,F52,B6,B14,B24 mrs:(E52,+,-435.8899) (F52,+,26549.4391) Rotate:True
Note on M52: reference:K52,L52 mrs: Rotate:True
Note on N52: reference:K52,L52 mrs: Rotate:True
Note on C53: reference:B10 mrs: Rotate:True
Note on D53: reference:C53 mrs:(C53,+,-10.0000) Rotate:True
Note on E53: reference:D53,B15 mrs: Rotate:True
Note on F53: reference:D53,B15 mrs: Rotate:True
Note on G53: reference:E53,F53,B6,B14,B24 mrs:(E53,+,1000.0000) (F53,+,16.4180) Rotate:True
Note on H53: reference:F53,B14,B23 mrs:(F53,+,33.8990) Rotate:True
Note on I53: reference:G53,H53 mrs: Rotate:True
Note on J53: reference:G53,H53 mrs: Rotate:True
Note on K53: reference:E53,B23 mrs: Rotate:True
Note on L53: reference:E53,F53,B6,B14,B24 mrs:(E53,+,-435.8899) (F53,+,26549.4391) Rotate:True
Note on M53: reference:K53,L53 mrs: Rotate:True
Note on N53: reference:K53,L53 mrs: Rotate:True
Note on C54: reference:B10 mrs: Rotate:True
Note on D54: reference:C54 mrs:(C54,+,-10.0000) Rotate:True
Note on E54: reference:D54,B15 mrs: Rotate:True
Note on F54: reference:D54,B15 mrs: Rotate:True
Note on G54: reference:E54,F54,B6,B14,B24 mrs:(E54,+,1000.0000) (F54,+,16.4180) Rotate:True
Note on H54: reference:F54,B14,B23 mrs:(F54,+,33.8990) Rotate:True
Note on I54: reference:G54,H54 mrs: Rotate:True
Note on J54: reference:G54,H54 mrs: Rotate:True
Note on K54: reference:E54,B23 mrs: Rotate:True
Note on L54: reference:E54,F54,B6,B14,B24 mrs:(E54,+,-435.8899) (F54,+,26549.4391) Rotate:True
Note on M54: reference:K54,L54 mrs: Rotate:True
Note on N54: reference:K54,L54 mrs: Rotate:True